Checklist

	Defects for HDB unit at:

	Address

	

	Living & Dining Room

	Does the balcony door panel on the left hand side screech when sliding to open or close?

	Does the balcony door have rusty screws on the frame, hinges and lock?

	Does the balcony door panel have any dents or scratches in the frame?

	Are the main door and gate lock and knob old and rusty looking?

	Is the main door is aligned properly? Is there difficulty is locking and unlocking main door?

	Does the main door and gate has mouldy hinges

	Is the main gate is overall rusty?

	Is the main gate easy to close in order to lock?

	Are the doorbell switch screws rusty?

	Is the main door see thru hole rusty? When looking thru, can you see clearly?

	Are there cracks near the balcony frame?

	Are there cracks on the wall along the passage way towards the room

	Is SCV point outlet is old and mouldy?

	Are the screws on the telephone point is old and rusty?

	Are the switches near the entrance to the balcony and bedroom is difficult to on or off?

	Are the screws on the power sockets rusty?

	Does the power box, behind the door, has a cover that is difficult to open or close?

	

	House Hold Shelter

	Is the door handle is rusty?

	Can the door close smoothly?

	Is the door seal is old and flaking?

	Is the SCV point outlet is old and mouldy?

	Is the power box cover is broken?

	

	Kitchen

	Are the screws on the window frame are mouldy or rusty?

	Are there any missing screw on the hinges ?

	Are there any hollow tiles on all walls of kitchen?

	Are the switches are difficult to on or off?

	

	Main and Common Toilet

	Is the louver window is difficult to open or close?

	Is the window handle bent?

	Are there any hollow tiles on all walls of bathroom?

	Are there any leaks at the joints of toilet bowl? (indicate with masking tape)

	Are there masking tape marks on toilet bowl seat cannot be removed?

	Are the magnetic hinges on the top of the toilet door rusty?

	

	Main Bedroom/Common Bedrooms/Study

	Are the louvers of window difficult to open and close?

	Are there any missing screws on the windows? Any screws not secured?

	Are there any rusty or mouldy screws on window hinges and frame?

	Is the door magnet is old and rusty?

	Are there any cracks and hairline cracks on walls?

	Does the ceiling have water mark, indicating seepage?

	Is the SCV point outlet is old and mouldy

	Are the switches are difficult to on or off


