	Components
	Defects Grouping
	Defects Decription

	Floor
	Finishing
	Stains, Painting/Coating Defect, Tonality, Patchy & Roughness

	Wall
	Alignment& Evenness
	Alignment, Uneveness, Squareness

	 
	Crack & Damages
	Crack, Chipping, Dent, Scratches

	 
	Hollow
	 

	 
	Jointing
	Joints, Pointing

	Ceiling
	Finishing
	Stains, Painting/Coating Defect, Patchy & Roughness

	 
	Alignment& Evenness
	 

	 
	Crack & Damages
	Crack, Chipping, Dent, Scratches

	 
	Hollow
	 

	 
	Jointing
	Joints, Pointing

	Door
	Joints & gap
	Joints, Gap etc too big, Inconsistent, Improper Seal

	Windows
	Alignment& Evenness
	 

	Component
	Material & Damages
	Cack, Chipping, Dent, Scratches, Sag, Warp

	M&E Fittings
	Functionality
	Movement, Functionality, cannot opened or closed properly, Loose

	 
	Acessories Defects
	Missing items, improper fixing, stains, corrosion, other damages


